## INSTRUCTIONS
AMD CGA Summary Form (AMD4)
AMD CGA Summary Form (AMD4) Version # 4.0 (June 2021)
INSTRUCTIONS
A summary of the results of any complete or incomplete CGA is to be included in the CGA report. These summaries are to be done by completing this AMD CGA Summary Form, for each audited parameter, and submitting it at the same time as the associated PDF CGA report. Refer to AMD Chapter 9 for the requirements for this form. Completed AMD Forms must be named and submitted according to the following instructions:
File Naming Convention:
Form submitted as part of CGA report
Refer to the EPEA Approval Industrial Monitoring Documentation Submission Naming Guideline for file naming conventions, available on the AMD web page.
Submission Instructions:
Upload the completed AMD Form, along with the associated CGA report to the Electronic Transfer System (ETS).
You must have an ETS account in order to submit.
For ETS login and account setup, see the ETS link on the AMD webpage (Air Monitoring Directive Chapter 9 submissions page).
Additional Notes:
• | The tab key can be used to move between the fields in this form where data/info can be entered.
• | This form must be submitted in Excel format and must not be converted to PDF prior to submission. Submitted PDF Forms will not be accepted, as the information being reported cannot be pulled into the Regulator database unless it is submitted as an Excel form. The AMD Forms are locked and password protected to prevent modification in order to ensure the integrity of the data when it is imported into the Regulator database.
• | The visual format and appearance of the cells in the form can be changed. For example, the text size, # of decimal places displayed, cell borders and shading, column and row heights and zoom levels can be altered by the user. The number of decimal places entered into the cell is what will be uploaded to the data system - the cell formatting affects the display only.
• | Values which are a percent must be entered as the percent (e.g., 1.5) not the decimal (e.g., 0.015). The Excel "Percent Style" button must not be used as only the decimal is stored and the value will be under reported.
• | Refer to the XML schema for this form for descriptions of each field and a listing of which fields are required.
• | It is acceptable to leave cells blank if they are not applicable. For text fields it is also acceptable to enter "n/a" for not applicable. "n/a" cannot be entered in a numeric field, as these fields require a numeric value and should be left blank if they are not applicable.
• | For reporting of daily values, calendar day or "production day" may be reported. If reporting production day state this in the comments section of the form, including what time range is reported.
• | Personal information is being collected under the authority of section 33(c) of the Freedom of Information and Protection of Privacy Act. It will be used in the administration of Alberta's Air Monitoring Directive. Questions about the collection of this information may be directed to Alberta Environment and Parks, Air Policy Section, 1st floor, 9820 – 106 Street NW, Edmonton AB T5K 2J6 or to 780-427-6873.
AMDFeedback@gov.ab.ca
© Her Majesty the Queen in right of the Province of Alberta, 2021.
Description of Units Drop Down Options:
| UNIT | DESCRIPTION | UNIT | DESCRIPTION | UNIT | DESCRIPTION
| % | PERCENT | ppb-wet | PARTS PER BILLION-WET | ppm dry @ 8% O2 | PARTS PER MILLION-DRY @ 8% O2
| % dry | PERCENT DRY | ppm | PARTS PER MILLION | ppm wet | PARTS PER MILLION-WET
| % wet | PERCENT WET | ppm dry | PARTS PER MILLION-DRY | ppmv | PARTS PER MILLION BY VOLUME
| %Linearity | PERCENT LINEARITY | ppm dry @ 10% O2 | PARTS PER MILLION-DRY @ 10% O2 | ppmv dry @ 50% EA | PARTS PER MILLION BY VOLUME @ 50% EXCESS AIR
| ppb | PARTS PER BILLION | ppm dry @ 15% O2 | PARTS PER MILLION-DRY @ 15% O2 | ppmv-dry | PARTS PER MILLION BY VOLUME-DRY
| ppb-dry | PARTS PER BILLION-DRY | ppm dry @ 7% O2 | PARTS PER MILLION-DRY @ 7% O2 | ppmv-wet | PARTS PER MILLION BY VOLUME-WET
Listing of Parameters Drop Down Options:
| Ammonia |  | Nitric oxide |  | Particulate matter < 2.5 microns (pm2.5)
| Carbon Dioxide |  | Nitrogen |  | Sulphur dioxide
| Carbon Disulphide |  | Nitrogen dioxide |  | Total hydrocarbons
| Carbon monoxide |  | Nitrogen Oxides |  | Total Organic Carbon
| Chlorine |  | Nitrogen Oxides (NOx, expressed as NO2) |  | Total organics
| Ethylene |  | Non-methane hydrocarbon (total) |  | Total reduced sulphur
| Ethylene oxide |  | Oxygen |  | Total suspended particulates
| Hydrogen chloride |  | Particulate matter (PM), total |  | Vinyl chloride
| Hydrogen sulphide |  | Particulate matter < 10 microns (pm10)
| Nitric acid |  | Particulate matter < 10 microns (pm10), filterable

## EXAMPLE
AMD CGA Summary Form (AMD4) EXAMPLE (shaded fields show example of how form can be completed)
AMD CGA Summary Form (AMD4) Version # 4.0 (June 2021)
EPEA Approval #: | 99999999 |  |  | AER ID #:
Company Name: | Company A |  | CGA conducted by (company) : |  | Contractors Inc |  | Facility Contact Name: |  | John Smith
Facility Name: | Facility B |  | Name of Lead Person Conducting the CGA: |  | Sally Jane |  | Facility Contact Phone Number: |  | 555-555-1234
Year: | 2018 |  | Name of Contractor Submitting Form (if applicable): |  | Sally Jane |  | Facility Contact Email Address: |  | john@smith.ca
Month: | January |  | Contractor Email Address (if applicable): |  | sallyjane@contractors.ca
Parameter #1
Parameter Monitored: | Nitrogen Oxides | Source Name: | Reformer Stack | Audit Date: | 2018-01-13
Unique Source Identifier: | P1 |  |  | Audit Start Time (MST 24-hour clock): | 10:31
CEMS Station ID: | 12345 |  |  | Audit End Time (MST 24-hour clock): | 11:58
CEMS Analyzer Serial Number: | 2038557 | CEM Analyzer Lower Range 1: | 0 | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: | Advance Optima | CEM Analyzer Upper Range 1: | 120 | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: | A02040 | CEM Analyzer Range 1 Units: | ppm | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas | 21-TFE-6988 | 0 | ppm | 2020-05-09 | 0 | 2000 | 20 | 0.4 | 0.3 | 0.2 | 0.3 | -0.25 | 2 | Yes | n/a
| Mid Level Gas | GS005687 | 50.7 | ppm | 2021-07-28 | 42.3 | 2000 | 20 | 50.7 | 50.8 | 50.7 | 50.73 | -0.03 | 2 | Yes | n/a
| High Level Gas | GS002569 | 106 | ppm | 2022-08-14 | 88.3 | 2000 | 20 | 105.7 | 105.7 | 105.5 | 105.63 | 0.31 | 2 | Yes | n/a
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual span analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | Yes |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments: | This was a follow-up CGA from the failed CGA on Jan. 10, 2018 (Ref# 198008).
Note on P29: If "incomplete test" is chosen, explain in comments field below.

## AMD CGA Form
AMD CGA Summary Form (AMD4)
AMD CGA Summary Form (AMD4) Version # 4.0 (June 2021)
EPEA Approval #: |  |  |  | AER ID #:
Company Name: |  |  | CGA conducted by (company) : |  |  |  | Facility Contact Name:
Facility Name: |  |  | Name of Lead Person Conducting the CGA: |  |  |  | Facility Contact Phone Number:
Year: |  |  | Name of Contractor Submitting Form (if applicable): |  |  |  | Facility Contact Email Address:
Month: |  |  | Contractor Email Address (if applicable):
Parameter #1
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #2
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #3
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #4
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #5
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #6
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #7
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #8
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #9
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #10
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #11
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #12
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #13
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #14
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Parameter #15
Parameter Monitored: | <Choose One> | Source Name: |  | Audit Date:
Unique Source Identifier: |  |  |  | Audit Start Time (MST 24-hour clock):
CEMS Station ID: |  |  |  | Audit End Time (MST 24-hour clock):
CEMS Analyzer Serial Number: |  | CEM Analyzer Lower Range 1: |  | CEM Analyzer Lower Range 2: (if dual)
CEMS Analyzer Make: |  | CEM Analyzer Upper Range 1: |  | CEM Analyzer Upper Range 2: (if dual)
CEMS Analyzer Model #: |  | CEM Analyzer Range 1 Units: | <Choose One> | CEM Analyzer Range 2 Units: (if dual) | <Choose One>
|  | Certified Gases | [6 empty] | CGA Response Data
|  | Protocol 1 Cylinder Gas ID Number | Concentration | Concentration Units | Expiry Date | % Full Scale | Cylinder Pressure (psi) | Delivery Pressure (psi) | CEMS Response 1 Concentration | CEMS Response 2 Concentration | CEMS Response 3 Concentration | Average Response | Calculated Percent Linearity | CEMS Code Performance Specification (% change) | Did result meet CEMS Code specifications? | Brief Description of Corrective Action Taken (if required)
Primary Range | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Dual Span / Second Range (if applicable) | Low Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| Mid Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
| High Level Gas |  |  | <Choose One> | [9 empty] | <Choose One> | <Choose One>
Note: Dual range analyzers must challenge both ranges. |  |  | Primary Range System Acceptable? |  |  | <Choose One> |  | Secondary Range System Acceptable? |  |  | <Choose One>
Comments:
Note on P29: If "incomplete test" is chosen, explain in comments field below.

## Version (hidden)
AmdForm | Version | Monthly-Error
4 | 4

## Headers (hidden)
Source | EpeaApproval | CompanyName | FacilityName | AerId | FacilityContactName | FacilityContactPhone | FacilityContactEmail | CGAConductor | LeadPersonConductingCGA | ContractorNameSubmittingForm | ContractorContactEmail | Year | Month
AMD CGA Form | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## Parameters-Headers (hidden)
Source | ParameterNumber | ParameterName | UniqueSourceIdentifier | CemsStationId | CemsAnalyzerSerialNumber | CemsAnalyzerMake | CemsAnalyzerModel | SourceName | CemsAnalyzerLowerRange1 | CemsAnalyzerLowerRange2 | CemsAnalyzerUpperRange1 | CemsAnalyzerUpperRange2 | CemsAnalyzerRangeUnits1 | CemsAnalyzerRangeUnits2 | AuditStartDate | AuditStartTime | AuditEndDate | AuditEndTime | Comment | SystemAcceptablePrimary | SystemAcceptableSecondary
AMD CGA FORM | 1 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 2 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 3 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 4 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 5 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 6 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 7 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 8 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 9 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 10 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 11 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 12 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 13 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 14 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>
AMD CGA FORM | 15 | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One>

## Certified-Gases (hidden)
ParameterNumber | SummaryType | GasLevel | Protocol1CylinderID | Concentration | ConcentrationUnits | ExpiryDate | PercentFullScale | CylinderPressure | DeliveryPressure | CemsResponse1Concentration | CemsResponse2Concentration | CemsResponse3Concentration | AvergeResponse | CalculatedPercentLinearity | CemsCriteriaBasedOnAlbertaCemsCode | ResultsMeetCemsSpecifications | CorrectiveActionBriefDescription
1 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
1 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
1 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
1 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
1 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
1 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
2 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
2 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
2 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
2 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
2 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
2 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
3 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
3 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
3 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
3 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
3 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
3 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
4 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
4 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
4 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
4 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
4 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
4 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
5 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
5 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
5 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
5 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
5 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
5 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
6 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
6 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
6 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
6 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
6 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
6 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
7 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
7 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
7 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
7 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
7 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
7 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
8 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
8 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
8 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
8 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
8 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
8 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
9 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
9 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
9 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
9 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
9 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
9 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
10 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
10 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
10 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
10 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
10 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
10 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
11 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
11 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
11 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
11 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
11 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
11 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
12 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
12 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
12 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
12 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
12 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
12 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
13 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
13 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
13 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
13 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
13 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
13 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
14 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
14 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
14 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
14 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
14 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
14 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
15 | Primary | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
15 | Primary | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
15 | Primary | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
15 | SecondaryOrDualSpan | LowLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
15 | SecondaryOrDualSpan | MidLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A
15 | SecondaryOrDualSpan | HighLevelGas | #N/A | #N/A | <Choose One> | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | <Choose One> | <Choose One> | #N/A

## Fields (hidden)
<Choose One> | <Choose One> |  |  | <Choose One> | <Choose One> | <Choose One> | <Choose One>
|  |  |  | 29 | 19
Q1
<Choose One> | <Choose One> | January | Q2 | <Choose One> | <Choose One> | <Choose One> | <Choose One>
Pass | Yes | February | Q3 | Ammonia | % | 0.5 | Yes
Fail | No | March | Q4 | Carbon Dioxide | % dry | 2.0 | No
|  | April |  | Carbon Disulphide | % wet | 5.0 | Incomplete test
|  | May |  | Carbon monoxide | %Linearity | 10.0
|  | June |  | Chlorine | ppb
|  | July |  | Ethylene | ppb-dry
|  | August |  | Ethylene oxide | ppb-wet
|  | September |  | Hydrogen chloride | ppm
|  | October |  | Hydrogen sulphide | ppm dry
|  | November |  | Nitric acid | ppm dry @ 10% O2
|  | December |  | Nitric oxide | ppm dry @ 15% O2
|  |  |  | Nitrogen | ppm dry @ 7% O2
|  |  |  | Nitrogen dioxide | ppm dry @ 8% O2
|  |  |  | Nitrogen Oxides | ppm wet
|  |  |  | Nitrogen Oxides (NOx, expressed as NO2) | ppmv
|  |  |  | Non-methane hydrocarbon (total) | ppmv dry @ 50% EA
|  |  |  | Oxygen | ppmv-dry
|  |  |  | Particulate matter (PM), total | ppmv-wet
Particulate matter < 10 microns (pm10)
Particulate matter < 10 microns (pm10), filterable
Particulate matter < 2.5 microns (pm2.5)
Sulphur dioxide
Total hydrocarbons
Total Organic Carbon
Total organics
Total reduced sulphur
Total suspended particulates
Vinyl chloride